Hellenic Accreditation System 
[image: image1.png]



	Materials/Products tested
	Types of test/Properties measured
	Applied methods/Techniques used

	Sampling

	1.  Potable water, Surface water, underground   and swimming pool water
	1.  Determination of physicochemical parameters
	ISO 5667-1:2006
ISO 5667-3:2018
ISO 5667-5:2006
ISO 5667-6:2014
ISO 5667-11:2009

ISO 5667-14:2014

	
	2.  Determination of microorganisms
	ISO 5667-1:2006
ISO 5667-3:2018
ISO 5667-5:2006
ISO 5667-6:2014
ISO 5667-11:2009

ISO 5667-14:2014

ISO 19458:2006

Οδηγία 2006/7/ΕΚ,

Υγ. Διάταξη Γ1/443/73 (ΦΕΚ 87/Β/24-1-73), όπως τροποποιήθηκε και ισχύει 


	Chemical tests

	1.  
Potable water, Surface water, underground  and swimming pool water
 
	1.  Determination of pH
	ISO 10523:2008

	
	2.  Determination of  Conductivity
	ΕΛΟΤ ΕΝ ISO 27888:1993 Modified

	
	3.  Determination of Τurbidity
	HACH Method 8195

	
	4.  Determination of Νitrates (ΝΟ3-)
	HACH Method 10049, (Screening method)

	
	5.  Determination of Αmmonium (ΝΗ4+)
	HACH Method 8038

	2.   Potable water, Surface and underground water
	1.  Determination of Ortho-Phosphates (PO43-)
	HACH Method 8048

	
	2. 
Determination of Sulfates (SO42-)
	HACH Method 8051

	
	3.  Determination of Nitrites (NO2-)
	HACH Method 8507

	3.  
Potable water, and swimming pool water
	1.  Determination of Free Chlorine (Cl2)
	HACH Method 8021

	Microbiological Tests

	1.  Potable water,  Surface water, underground  and swimming pool water

	1.  Detection and enumeration of Escherichia coli and coliform bacteria
	ISO 9308-1 : 2014 / Amd 1:2016

	
	2.  Enumeration of culturable micro-organisms at 22(2 οC and 36(2 οC
	ISO 6222 : 1999

	
	3.  Detection and enumeration of  intestinal enterococci
	ISO 7899-2 : 2000

	
	4.  Detection and enumeration of Clostridium perfringens (spores included)
	ISO 14189 : 2013

	
	5.  Detection and enumeration of Pseudomonas aeruginosa
	ISO 16266 : 2006


Site of assessement: Permanent Laboratory premises, Ethnikis Antistaseos 56, Dispilio, Kastoria
Approved signatory:V. Maleas.

                The Accreditation Certificate No.1157, to ELOT EN ISO 17025:2005, is valid until 01.03.2023.

Athens, 01.03. 2019

                                                                                                    Konstantinos Voutsinas

                                                                                                 Managing Director of ESYD



Annex F1/1 to the Certificate Νο. 1157





SCOPE of ACCREDITATION 


of the 


Testing Laboratory


of 


“EnvoLab” – Vasileios Maleas











Page 2 of 2                                 Annex F1/1 to the Certificate ESYD No.1157                            01.03.2019

